Microarray Hybridization using Cy3-Labeled Random 9-mers

- Re-hydrate slide over a 60(C water bath for 10 seconds.

  - Hold slide label-side down over the water vapor.

  - Watch spots carefully to avoid over-hydration (at which point the spots will begin to merge together).

- Snap-dry the slide by placing it on a 65(C heating block for 2 seconds.

  - Place slide label-side up on the heating block. The elements should reappear as white dots.

  - Allow slide to cool for 1 minute.

- Repeat steps 3 & 4 a total of five times.

- UV cross-link the slide by exposing the slides label-side up to 120mJ in a commercial cross-linker machine.  We use a Stratalinker, but other cross-linkers should be fine.

- Wash the slide in 1% SDS for 5 minutes at RT on a shaker or agitate by hand.

- THIS STEP FOR cDNA MICROARRAYS ONLY: Denature the probes on the microarray at 95-100oC by immersing the slides in boiling milliQ water for 2 min.

- Remove SDS by dipping slide into 100% ethanol for 30 seconds with gentle agitation.

- Spin dry the slide by centrifugation:

  - Pack bottom of 50 mL plastic disposable centrifuge tube with Kimwipes to a depth of about 20 mm.

  - Using forceps, carefully place the slide into tube with label at the bottom.

  - Centrifuge slide at no more than 1,000 rpm for 2-4 minutes (500 X g).

  - Repeat spin if any liquid remains on slide.

- Repeat ethanol wash if any visible streaks remain after the spin dry step.

- Prepare the hybridization mix by mixing these reagents in the following sequence:

20 X SSC			12.0 μL

Amersham Liquid Block		6.0 μL

2% SDS			4.0 μL

Cy3-labeled random 9mer	20.0 μL (0.05 μg/μL; Qiagen-SP210)

H2O				58.0 μL

Total	      	100 μL

- Incubate the hybridization mixture at 90oC for 2 min.

- Apply the hot hybridization mixture to the microarray slides. Cover with lifterslip, (Erie Scientific company, Portsmouth Rd, NH03801. Cat # 25x60I-2-4789).

- Continue hybridization for 1-3 h  at room temperature.

- Wash microarrays by immersion in 200 mL of 2 X SCC, 0.1% SDS (20mL,  20 X SSC pH 7.0;  1mL, 20% SDS and 178 mL, ddH20 )  for 5 min with gentle agitation, followed by two washes in 200 mL of 0.5 X SSC (5 mL,  20 X SSC pH 7.0 and 195 mL, ddH20 ) for 5 min each with gentle agitation . All washing steps are done at room temperature.

- Scan the slides immediately or store in a light-proof container in a cool dry place until scanning.