TABLE OF CONTENTS

CHAPTER 1: RNA LABELING AND HYBRIDIZATION	2

Target Preparation I:  RNA Isolation and Precipitation  	2

Target Preparation II:  RNA Quality Control and Quantification	5

Target Preparation III:  PolyA+ RNA Isolation using Dynabeads	8

Indirect Labeling of PolyA+ RNA	10

Alkaline Hydrolysis of RNA,  Removal of Unincorporated aa-dUTP, and Dye Coupling	11

Removal of Unincorporated Cy-Dye and Target Validation using NanoDrop	13

Microarray Immobilization and Hybridization	14

Microarray Feature Extraction	17

CHAPTER 2:  RNA AMPLIFICATION AND  aRNA HYBRIDIZATION	18

RNA Cleanup prior to aRNA Amplification	19

Setting up the First Strand cDNA Synthesis	20

Second Strand cDNA Synthesis, and Setting Up for aRNA Synthesis	21

aRNA Purification, Quantification, and Dye Coupling	24

Coupling AA-cDNA to the Cy Dye Ester	25

aRNA Purification (Post Dye Coupling)	25

Measurement of Dye Incorporation	28

Microarray Hybridization	29

Microarray Feature Extraction	31

CHAPTER 1: RNA LABELING AND HYBRIDIZATION

Target Preparation I:  RNA Isolation and Precipitation

Overview

Isolation of total and polyA+ RNA. Total RNA can be isolated using a variety of procedures, depending on plant materials and tissue types.  We have provided information concerning the most basic and simple method of RNA isolation using Trizol, followed by isolation of polyA+ RNA using magnetic beads.  We have found this combination of methods works very well for many different tissue types.  It is also very flexible, in that the procedures can be modified to accommodate the differing requirements of specific tissues.  For example, if you are working with tissues which contain large quantities of starch or other polysaccharides, such as maize endosperm or root tips, the protocol requires modification to eliminate solubilization of polysaccharide which would interfere with target production.  This can be simply achieved by dissolving the pellet containing the RNA in a larger volume than described in the protocol provided here (increasing the volume from 0.1 to 0.5 ml at step 14), and incubating the solution on ice for a few hours.  This precipitates most of the dissolved starch from the RNA solution, and it can be removed by centrifugation.  If necessary this step can be repeated once or twice more.  It should be noted that total RNA can be employed for target production, although for reasons of specificity we prefer use of polyA+ RNA.  If total RNA is to be used, we recommend RNA cleanup using RNeasy mini-elute columns; since target labeling is very sensitive to traces of phenol contamination, it is strongly recommended to use this method of cleanup.

The Trizol reagent was developed from the single-step RNA isolation method described by Chomczynski and Sacchi (1987).  Trizol is a monophasic mixture of phenol and guanidine isothiocyanate, which during sample homogenization, maintains RNA integrity whilst solubilizing and precipitating other cellular components.  For this lab session, Trizol is added to plant materials pulverized by grinding in liquid nitrogen.  For smaller samples, homogenization can be done using a glass-in-glass homogenizer. Phase separation is facilitated by addition of chloroform, and the aqueous phase, containing the RNA, DNA and polysaccharides, is recovered.  The nucleic acids (and the polysaccharides) are then precipitated using isopropanol.

Materials and Methods

Total RNA Isolation

Materials

RNAase-free mortar and pestle: cover the mortar and pestle with aluminum foil and bake overnight at 180oC.

RNAase-free 1.5 mL microfuge tubes.

Liquid nitrogen.

Refrigerated microfuge.

RNAase-free pipette tips.

Isopropanol.

DEPC-treated H2O.

3M Na acetate (pH 5.3), RNAase-free: prepare the 3 M Na acetate in DEPC treated H2O in an RNAase-free container ; adjust the pH with acetic acid and autoclave before using.

Methods

- Homogenize 200mg of tissue in liquid nitrogen.

  - Chill mortar with ~100 mL of liquid nitrogen.

  - Add tissue after nitrogen has evaporated to one-half of its original volume.

  - Grind tissue quickly but carefully.

  - When liquid has fully evaporated, grind faster to produce a fine talc-like powder.

- Add 1 mL Trizol per 100 mg of tissue and continue to mix. If frozen stiff, wait to thaw slightly and continue

- When mixed thoroughly, wait until the homogenate melts into a liquid, and transfer to RNAase-free tubes.

  - Cover the mortar with foil while waiting (~5 –10 min)

  - RNAase-free microfuge tubes are optimal for this purpose (1 mL liquid  per tube).

- Incubate for 5 min at room temperature (RT).

- Add 0.2 mL chloroform for each 1 mL of Trizol, and vortex for 15 sec.

- Incubate for 1 min at RT.

- Centrifuge at 15,000 xg for 10 min @ 4(C.

- Transfer the aqueous phase to fresh RNAase-free tubes, and put on ice.

  - You should see two layers.  Remove the top layer, starting from the very top and side of tube, leaving a broad zone separating the lower layer.

  - Put tubes on ice as soon as the liquid has been transferred.

- Precipitate by adding an equal volume of isopropanol.

  - Mix by inverting twice.

  - Incubate for 15-30 min on ice.

- Centrifuge at 15,000 xg for 10 min at 4(C.

  - A small pellet should be visible.

- Wash pellet with 1.0 mL 75% ethanol prepared using RNAase-free water (Be careful; the pellet may be loose).

- Dry the pellet  for 5 min by  inverting onto a Kimwipe.  Caution: Do not let it dry for longer than 5 min, since the pellet will become very difficult to re-suspend.

- Add 100 μL RNAase-free water.

  - Resuspend by pipetting  (breaking the pellet up helps speeds its dissolving).

  - Incubate on ice for at least 1 h, with occasional resuspension.

- Spin at 20,000 xg for 20 min at 4(C to remove the debris.

- Transfer supernatant to a clean RNAase-free tube.

  - Note: You will not always get a clear distinction between the supernatant and the unwanted debris layer at the bottom of the tube.

  - To avoid transferring debris, pipette slowly from the surface of the supernatant.

- Repeat precipitation with 10% volume 3M sodium acetate and an equal volume of 100% isopropanol.

  - Precipitate on ice for 1 h or overnight at –20(C.

- Spin at 20,000 xg for 20 min at 4(C (14,000 rpm in a table top microcentrifuge).

- Repeat steps 11-12.

- Dissolve in 20 μL RNAase-free water for 1 h on ice (steps 17-20 are optional).

- Determine the concentration and purity of the RNA using spectrophotometry. Repeat precipitation (from step 19) if concentration is less than 2.5 ug/ul.

- Run gel to check the RNA integrity and quality.

  - Prepare 1% agarose gel in 1X TBE or TAE  in a RNAase-free gel box.

  - Load 2 μL sample and 1 μL dye.

Optional DNAase treatment (steps 22-26)

- Add 5 μL of 10 x RQ1 DNAase buffer and Add 20 μL of RQ1 DNAase (1U/ul) (Promega Cat # M6101A), make up the total volume to 50 μL with DEPC H2O and incubate at 37oC for 30 min.

- Add 50 μL of RNAase-free water to bring total volume to 100 μL.

- Add 100μL of phenol/chloroform (pH 4.0) and shake to mix well.  Spin tube for 2 min at max speed (20,000 x g) to separate phases.

- Transfer the upper phase to fresh tube (~85 μL), and add 9.0 L of RNAase-free 3M sodium acetate, and 250 μL of ethanol. Mix by inversion.

- Place at -200 C for 10-20 min to precipitate the RNA.

- Wash with 75% ethanol, dry briefly and dissolve the total RNA in 20 μL of DEPC H2O on ice for 1-2 h.

- Store the RNA at –80( C until needed.

Target Preparation II:  RNA Quality Control and Quantification

Overview

RNA quality is a critical factor which determines the quality of hybridization.  RNA that is of poor quality (i.e. degraded or contaminated) cannot be efficiently labeled, and consequently will not give good hybridization signals. Macromolecular, and other, contamination not only adversely affects RNA labeling but also interferes with RNA quantification. As a general rule:  Good RNA = Good Hybridization.

## RNA quantification can be done using UV absorbance at 260 nm, or by treating the RNA with the RNA-specific dye Ribogreen and measuring the fluorescence. Although the Ribogreen binding method is more sensitive than UV absorbance, the latter is the most widely used. In this method, the absorbance values are converted into RNA quantity using the Beer-Lambert equation:

A = E * b * c

Where A is the absorbance represented in absorbance units (A), E is the wavelength-dependent molar absorptivity coefficient (or extinction coefficient) with units of liter/mol-cm, b is the path length in cm, and c is the analyte concentration in moles/liter or molarity (M).

For nucleic acid quantification, the Beer-Lambert equation is manipulated to give:

c = (A * e)/b

Where c is the nucleic acid concentration in ng/microliter, A is the absorbance in AU, e is the wavelength-dependent extinction coefficient in ng-cm/microliter, and b is the path length in cm. The generally accepted extinction coefficients for nucleic acids are:

- Double-stranded DNA: 50

- Single-stranded DNA: 33

- RNA: 40

Methods

RNA Quantification using the NanoDrop.

We will be using a NanoDrop spectrophotometer, which directly measures the RNA concentration of a sample without dilution, requiring only ~1 μL of sample.

- Place 1.5 μL of ddH2O on the lower pedestal of the NanoDrop, lower the upper pedestal into position, then initialize the instrument.

- After the initialization is completed, select the Nucleic Acid Measurement window from the Menu Options.

- Wipe the pedestals clean using a Kimwipe, and apply fresh 1.5 μL of ddH2O onto the lower pedestal.  Replace the upper pedestal, and take the blank reading (setting the base line).

- Wipe the pedestals thoroughly with a Kimwipe.

- Apply 1.5 μL of the RNA sample, replace the upper pedestal, and take the measurement.

- Wipe the pedestals, apply fresh ddH2O, and take the final (control) measurement.

- Clean the pedestals, and exit the program.

RNA Quality Analysis.

Agarose Gel Electrophoresis.

1. 	Preparation of agarose gel for RNA analysis.

  - For quick RNA quality check, use a 1% agarose gel prepared in TBE buffer.

  - Melt 1.0 g agarose in 100 mL 1X TBE buffer (prepared in twice-autoclaved ddH2O), and cast the gel within a RNAase free gel box.  It is good practice to keep a gel box separately for RNA use only; after each run, it should be cleaned by rinsing with DEPC-treated water).  Note: Please follow standard denaturing gel electrophoresis if you are planning to do Northern analysis.

10 X TBE Buffer

ddH2O 		800 mL

Tris base 	108.0 g

Boric acid 	55.0 g

EDTA 		9.3 g

Adjust volume to 1L with ddH2O

- Run agarose gel to check RNA integrity.

  - 1% Agarose gel in 1X TBE in an RNAase free gel box.

  - Load 5L sample and 2L dye.

  - Run at 100V until the dye reaches the end of the gel (~30 min).

  - Observe the RNA gel using a UV gel box

- Store remaining RNA at –80(C.

- You also will be using the Bioanalyzer for RNA electrophoresis, in which case you should follow the manufacturer’s instructions.

Figure.  Image typical of total RNA analyzed using agarose gel electrophoresis. This RNA is suitable for target preparation.  Critical is the non-smeared appearance of the major bands, which correspond to ribosomal RNA. The mRNA is not visible, being a collection of molecules of different lengths.

# Target Preparation III:  PolyA+ RNA Isolation using Dynabeads

# We have found that Dynabeads work very well for this purpose, but methods using other magnetic beads (Promega) and Oligo-dT cellulose columns (Qiagen, Invitrogen) can give comparable results.

# Materials

# Dynabeads® mRNA DIRECTTM Kit (Dynal Cat # 610.50).

# Magnet Stand (Dynal MPC®-S Cat# 120.20).

# RNAase-free 1.5 mL microfuge tubes and RNAase free tips.

Heating blocks set at 65C and 80C

RNAase free pipette  tips

# Method

- Take 50 μg total RNA, bring to 100 μL with DEPC-treated water, and add 100 μL 2X Binding Buffer.

- Incubate the RNA to disrupt secondary structure in a 65ºC water bath for two min, then store on ice.

- To a new microfuge tube, add 100 μL re-suspended Dynabeads.

  - Be sure to thoroughly re-suspend the Dynabeads by pipette before transferring.

- Place tube containing Dynabeads in Magnet Stand for 30 sec, or until liquid clears.

  - Magnet will pull the beads towards the back wall of the tube, at which point the liquid will clear.

- While tube is in the stand, remove all liquid using a pipette.

- Remove tube from Magnet Stand, and add 150 μL 2X Binding Buffer.

  - Re-suspend magnetic beads by pipetting up and down.

- Replace tube in Magnet Stand.

- When solution is clear, remove all liquid.

- Add 100 μL 2X Binding Buffer (or volume equal to that of initial total RNA solution).

- Add the 65ºC-treated total RNA to the Dynabeads.

  - Mix well with pipette.

- Place tube on shaker, or invert by hand for 5 min at RT to mix and allow annealing of polyA+ RNA to beads.

- Transfer tube to Magnet Stand.

- When solution has cleared, remove all liquid with pipette.

- Add 150 μL Wash Buffer.

  - Mix thoroughly with pipette.

- Replace tube in Magnet Stand, and remove liquid when clear.

  - Be sure to remove all liquid between washes.

Repeat steps 14 - 15 for a total of three times.

- Having finally removed all liquid, add 20 μL Elution Buffer  (this can be varied from 5-20 μL depending up on the amount of input RNA).

  - Mix thoroughly with pipette.

- Incubate tube in 80ºC water bath for 2 min.  Replace tube in Magnet Stand.

- Once solution has cleared, remove liquid and transfer to new tube.

  - Label tube as containing PolyA+ RNA.

  - Store on ice until finished with protocols, or store for future use in –80ºC freezer.

  - Dynabeads can be reused up to 4X (see steps 19-26 for Dynabead Regeneration).

- Regenerate used Dynabeads by adding 150 μL Reconditioning Buffer.

  - Mix thoroughly with pipette.

- Incubate tube in a 65ºC water bath for 2 min.

- Transfer tube to Magnet Stand, and remove liquid when clear.

- Add 200 μL Reconditioning Buffer.

  - Mix thoroughly with pipette.

- Transfer tube to Magnet Stand and thoroughly remove all liquid.

- Add 200 μL Storage Buffer.

- Mix thoroughly with pipette

- Transfer tube to Magnet Stand and thoroughly remove all liquid

- Add 200 uL  Storage Buffer

- Place tube in Magnet Stand and remove buffer when clear.

- Dynabeads are now ready for another isolation, starting from step 3.

- Since the Dynabeads are re-usable, it is advised to use the regenerated Dynabeads to purify the  polyA+  from biologically duplicated samples to reduce costs.

- After completion of the purification, estimate the polyA+ RNA yield using a NanoDrop spectrophotometer, then proceed to RNA labeling.

2X Binding Buffer

20 mM Tris-HCl,  pH7.5

1.0 M LiCl

2 mM EDTA

Washing Buffer

10 mM Tris-HCl pH7.5

0.15 M LiCl

1 mM EDTA

Elution Buffer

10 mM Tris-HCl, pH 7.5

Reconditioning Buffer

0.1 M NaOH

Storage Buffer

250 mM Tris-HCl pH 7.5

20 mM EDTA

0.1% Tween-20

0.02% Sodium azide

Indirect Labeling of PolyA+ RNA

Materials:

5-(3-aminoallyl)-2’deoxyuridine-5’-triphosphate (AA-dUTP) (Ambion; Cat#8439) 
100 mM dNTP Set PCR grade (Sigma; Cat# DNTP-100A) 
Random hexamer primers (0.5mg/mL) (Invitrogen; Cat # 48190-011)

PowerScript (BD Biosciences; Cat#639501)

DMSO (Sigma; Cat#D8418)

Cy3 Monoreactive dye (Amersham Pharmacia; Cat # PA23001)

Cy5 Monoreactive dye (Amersham Pharmacia; cat# PA25001)

Preparation of 0.2 M sodium carbonate buffer: pH 9.0.

Solution I. Dissolve 0.84g NaHCO3 in 50 mL of DEPC H2O in a disposable sterile Falcon tube.

Solution II. Dissolve 1.05g Na2CO3, in 50 ml of DEPC H2O in a disposable sterile Falcon tube.

Mix 45 ml of solution I and 2.75 ml of Solution II  in a  disposable sterile Falcon tube, which should result a 0.2 M Sodium Carbonate buffer with  pH  9.0.  Check the pH and  aliquot 0.2mL into RNAase-free tubes, and store at -20oC.  Use one tube at a time, discarding the tube after use.

Preparation of Cy3 and Cy5 monoreactive dye. These dyes are supplied as five aliquots; the contents of each tube is sufficient for at least four  labeling reactions.  Dissolve the entire contents of a single tube in 22 μL DMSO by flicking the tube several times, and leaving at RT for at least 30 min protected from light.  Centrifuge at 1000 x g for 30 sec to collect the dye at the bottom of the tube. The dye is now ready for use, but can be stored at -20oC for up to one month.  Always protect the dye from light by wrapping with aluminum foil.

Methods

- Label two 0.5 mL tubes “control” and “experiment” respectively.

  - Each hybridization is done using a pair of Cy3- and Cy5-labeled RNA targets, which are separately prepared, then mixed prior to hybridization.

  - Keep RNA on ice at all times, unless otherwise indicated.

- In each 0.5 mL tube, mix the following:

PolyA+ RNA 1 μg				          	          20.0 μL

Random primer  (0.5 μg/μL) 				2.0 μL

- Incubate the mix in a 65ºC water bath for 5 min, then bring the tubes to RT, and allow to sit for 2 min.

Add the following:

20X aa-dNTP (10 mM dATP, dCTP, dGTP,

4 mM dTTP, 6 mM aa-dUTP) 		2.0 μL

5X First Strand Buffer			          		8.0 μL

0.1M DTT							4.0 μL

RNAase Inhibitor						1.0 μL

Powerscript	    					2.0 μL

DEPC H2O							1.0 μL

- Mix and incubate at 42º C for 2 h.

After two hours of incubation, follow the procedures for alkaline hydrolysis of RNA and dye coupling.

Alkaline Hydrolysis of RNA,  Removal of Unincorporated aa-dUTP, and Dye Coupling

Overview:

Before proceeding to the dye coupling, it is important to remove the RNA from the first-strand reaction, and to remove all unincorporated aa-dUTP. These steps will help  to increase the specificity and degree of dye coupling.

Methods:

Hydrolysis of RNA (Optional for PolyA+ RNA Labeling)

Add (make a master mix and add 20 μL of the master mix): 
10 μL 1 M NaOH
10 μL 0.5 M EDTA

Mix and incubate at 65º C for 15 min.

Add 25 μL of 1 M Tris HCl (pH 8.0) to neutralize.  Alternatively, 25 μL 1 M HEPES (pH 7.0) can be substituted for the Tris buffer.

Removal of Unincorporated AA-dUTP.

Materials:

Qiaquick PCR purification kit (Cat#28104)

Microfuge centrifuge

Pipette tips

Method:

In this procedure, the QIAquick PCR Purification Kit is used to remove free aminoallyl-dUTP from the previous reaction mixture. Bear in mind that the DNA binding curve for silica, on which the QIAquick PCR Purification Kit is based, is favorable at low pH but falls off sharply at around pH 8; it is essential that the pH of the reaction be below 7.5 before it is added to the QIAquick membrane.

This is an abbreviated protocol for cDNA cleanup using the QIAquick PCR Purification Kit. Please see the QIAquick Spin Handbook for more details.

- Add 35 μL 100 mM NaOAc, pH 5.2, to each reaction.

- Add 5 volumes of Buffer PB (binding buffer, provided by Qiagen).

- Place a QIAquick Spin Column in a 2 mL collection tube (provided) and apply sample to the QIAquick Spin Column.

- Centrifuge for 30–60 sec at 17,900 x g (max. Speed, 14,000 rpm).

- Discard flow-through, and place the QIAquick Spin Column back into the same tube.

- Add 400 μL Buffer PE to the QIAquick Spin Column, and centrifuge for 30–60 sec at 17,900 x g (14,000 rpm).

- Repeat step 6.

- Discard flow-through, and place the column back into the same tube.  Centrifuge for 3 min at 17,900 x g

- Place the QIAquick Spin Column in a new microfuge tube.

- To elute, add 20 μL Buffer EB (elution buffer, provided by Qiagen) pre-heated to 50o C) to the center of the QIAquick Spin Column and centrifuge the column for 1 min at 17,900 x g.

- Add an additional 20 μL 55o C pre-heated Buffer EB to the center of the QIAquick Spin Column and centrifuge the column for 1 min at 17,900 x g (we have always used EB buffer for the elution step without encountering problems in dye coupling;  however other methods recommend using phosphate buffer for DNA elution).

- Completely dry the eluted cDNA from the previous step using a Speedvac centrifuge set at 50-55oC.

Coupling of AA-cDNA to Cy Dye Ester.

  - Dissolve entire contents of the tube in  5 μL of NaHCO3 buffer by flicking the tube several times and leaving the tube at RT for at least 20 min.

  - Add 5 μL of Cy3 or Cy5 (in DMSO) to each tube and mix thoroughly by flicking the tube several times.

  - Spin the tube at 1000 X g for 30 sec.

  - Incubate the dye and DNA mix in the tube at RT for 2 h covered in aluminum foil.

Removal of Unincorporated Cy-Dye and Target Validation using NanoDrop

Materials:

Qiaquick PCR purification kit (Cat#28104)

Microfuge centrifuge

4 M Hydroxylamine

Pipette tips

Quenching Reaction. This optional step involves quenching any unreacted Cy-dye through  addition of an excess of primary amines.

- Add 4.5 μL 4M hydroxylamine

- Incubate for 15 min in the dark at RT.

Removal of Unincorporated dye.

Method:

In this procedure, the QIAquick PCR Purification Kit is used to remove unincorporated free dye from the previous reaction mixture. As indicated before, it is essential that the pH of the reaction be below 7.5 before it is added to the QIAquick membrane.

This is an abbreviated protocol for cDNA cleanup using the QIAquick PCR Purification Kit.  Please see the QIAquick Spin Handbook for more details.

- Add 35 μL 100 mM NaOAc, pH 5.2, to each reaction.

- Combine Cy3 and Cy5 labeled reactions in one tube.

- Add 5 volumes of Buffer PB.

- Place a QIAquick Spin Column in a 2 mL collection tube (provided) and apply sample to the QIAquick Spin Column.

- Centrifuge for 30–60 sec at 17,900 x g.

- Discard flow-through, and place the QIAquick Spin Column back into the same tube.

- Add 400 μL Buffer PE to the QIAquick Spin Column, and centrifuge for 30–60 sec at 17,900 x g.

- Repeat step 7.

- Discard flow-through, and place the column back into the same tube. Centrifuge for 3 min at 17,900 x g.

- Place the QIAquick Spin Column in a new microfuge tube.

- To elute, add 20 μL 55o C pre-heated Buffer EB to the center of the QIAquick Spin Column and centrifuge the column for one min at 17,900 x g.

- Add 20 μL Buffer EB (pre-heated to 50 o C) to the center of the QIAquick Spin Column and centrifuge the column for one min at 17,900 x g.

Measure the DNA concentration and dye incorporation using the NanoDrop or a conventional spectrophotometer. Store the labeled target on ice, protected from light.

Microarray Immobilization and Hybridization

Overview.

Microarray elements (long oligonucleotides, or PCR amplicons) are deposited onto specially modified glass surfaces during the print process, but the DNA is not irreversibly bound to the surface until the surface carrying the DNA is exposed to UV.  It is essential not to apply any liquid to the microarray surface before cross-linking. Cross-linking is done by exposing the microarray slides directly to short wave UV light.  Prior to this step, the printed microarrays must be rehydrated.  The rehydration/snapdrying process described below was devised to maximize the number of DNA molecules that have direct contact with the glass surface. Care must be taken during rehydration. The timing of rehydration must be carefully controlled;  excessive exposure to hot water vapor will cause the array elements to expand in volume to the point that merging of neighboring spots can occur.  This would result in between-spot contamination.

Materials Required

Wash glasses

Microscope slide holders

10 mL disposable pipette

50 mL tubes

Sterile measuring cylinder

Extra deep Hybridization Cassette (Telechem International Cat# AHCXD)

LifterSlip (Erie Scientific Company Cat#24X601-2-4733)

Incubator set to 55(C

Liquid Blocking Reagent (Amersham; Cat # RPN3601)

20% SDS

2% SDS

20XSSC

Nanopure H2O

Methods:

Microarray Immobilization.

This can be performed at any time before hybridization.

- Re-hydrate slide over a 60(C water bath for 10 sec.

  - Hold slide label side down over the water vapor.

  - Watch spots carefully to avoid over-hydration (the spots will begin to merge together).

- Snap dry the slide on a 65(C heating block for 2 sec.

  - Place slide label-side-up on the heating block. The elements should reappear as white dots (SSC).

  - Allow slide to cool for 1 min.

- Repeat steps #1-2 for a total of five times.

- UV cross-link the slide by exposing the slides label-side-up to 180mJ in a commercial cross-linker machine.  We use a Stratalinker, but other cross-linkers should be fine.

- Wash the slide in 1% SDS for 5 min at RT on a shaker or agitate by hand.

- Denature the probes on the microarray slide at 95-100oC by immersing the slides in boiling milliQ water for 2 min (only for cDNA microarrays).

- Remove SDS by dipping the slides into nano-pure H2O for at least 10 times

- Remove all the H2O  by dipping slides into 100% ethanol for at least 20 times.

- Spin dry slide in centrifuge at no more than 1000 rpm for 2-4 min.

  - Pack bottom of 50 mL plastic disposable centrifuge tube with Kimwipes.

  - Using forceps, carefully place the slide into tube with label at the bottom.

  - Repeat spin if any liquid remains on slide.

- Repeat ethanol wash if any visible streaks remain after the spin dry step.

- Store slide in a lint-free lightproof box @ RT under conditions of low humidity.

Microarray Hybridization.

Hybridization mix

- Mix the following in a microfuge tube:

20X SSC			6.0L

Liquid Block			3.6L

2% SDS			2.4L

Both Labeled Targets			--- L

H2O		 	to 60 L

(Note: Dye concentration should not exceed 0.8 pm/L for each color)

- Denature labeled target by incubating tube in boiling water for 2 min.

- Transfer tube to ice immediately.

- Rinse ArrayIt™ Hybridization Cassette with distilled water and dry thoroughly.

- Make sure flexible rubber gasket is seated evenly in gasket channel.

- Add 15 μL water to the lower groove inside the cassette chamber.

- Insert the microarray (1" x 3" or 25mm x 75mm slide) into cassette chamber, DNA side up.

- Place the lifter slip over the microarray slide (make sure the white stripe of the lifterslip is at the lower side)

- Apply the PRE-HEATED sample slowly to the one end of the lifterslip and let it disperse.

- Quickly place the clear plastic cassette lid on top of the cassette chamber.

- Apply downward pressure and manually tighten (clockwise) the four sealing screws.

- Check all four screws again to confirm a tight seal.

- Place the cassette into a hybridization oven set at 55o C.

- Allow the hybridization reaction to proceed for 8-12 h.

- After hybridization, remove cassette, manually loosen the four sealing screws (counterclockwise), and remove lid.

- Remove the microarray slide from the cassette chamber using forceps, and place the slides into the washing buffer.

Microarray Washing

- Wash slide in the following solutions for 5 min each:

2x SSC, 0.5% SDS @ 55(C

0.5x SSC @ RT

0.05x SSC @ RT

- Washing is done by immersing the slides in a glass slide-staining jar containing the appropriate volume of wash buffer, followed by placing it on a belly shaker at 60 rpm.  Pre-heat the first wash solution, and make sure the slides are completely immersed in wash buffer.

- After completion of the washes, spin dry the slide in a centrifuge at no more than 1000 rpm for 2-4 min.

  - Pack bottom of 50 mL plastic disposable centrifuge tube with Kimwipes.

  - Using forceps, carefully place slide into tube with label at the bottom.

  - Repeat spin if any liquid remains on the slide.

- Scan slide immediately, or store in a light proof box @ room temp under dry conditions.

  - Immediate scanning is recommended, however we have observed that properly stored slides (light protected-dry- RT) can retain the signal up to a month. Note: some reports indicate environmental pollutants (ozone) can drastically affect fluorescence.

  - Examine the scanned images immediately to determine the number of elements that are near zero or are saturated (for a 16-bit scanner, that represents a value of 65,400).  The proportion of these elements should be acceptably low, since information is lost in either case.

  - It is much more preferable to rescan with altered gain settings on the scanner than to proceed with analysis of images containing large proportions of zero or saturated elements.  As we can tell, even though the absolute value of the spots may be reduced by scanning a second or third time, the relative fluorescence is preserved, so the information is not lost.

  - Save the image as .TIFF files.

Microarray Feature Extraction

Feature extraction is a critical step which can greatly influence the outcome of your microarray experiment.  Care must be taken while converting the digital images into numerical values. Feature extraction is carried out by  spot-finding programs, which  convert the digital image in to numerical value based on the signal intensities of each spot.  There are a number of commercial spot finding programs available on the market; users can purchase these at reasonable costs. Most microarray scanners are now bundled with automated spot finding programs based on gal file input.

Feature extraction using Axon-Gene Pix 6.0

- Load the .TIFF image file into the Gene Pix program.

- Load the .gal file using  “open gene list”.

- Use auto adjust function F8 to find array, find features, and adjust the features .

- Spend time going through the entire slide twice: once to look for mismatches in the grid, and the second time to manually flag obvious problems.  Look for: smears, streaks, or dust where the spot is obviously the same intensity or lighter than the smear it is sitting in, individual spots that are misplaced with respect to the grid (even if nothing is there, chances are the position is being dictated by a small noisy area, visible or not), spots that have bled into adjacent spots, and anything else that looks suspicious.  We would like to keep as much data as possible, but dealing with an unbalanced statistical design is preferable to allowing outliers into the data set.

- Extract the data.

- Save the data as GPR files.

Creating a false color overlay image for single channel TIFF images

- Open the Control TIFF image in Adobe Photoshop, convert the image to 8 bit, and copy the entire image.

- Open a new image as RGB color, select the green channel, and paste the first image.

- Open the Experiment TIFF image and convert it to 8 bit,  copy the entire image and go to the new image (where you have already pasted the control image into the green channel), select the red channel, and paste the experiment image.

- Click the RGB channel and you will see the red, green and yellow spots. You can adjust the brightness and contrast to get appropriate levels in the image.

CHAPTER 2:  RNA AMPLIFICATION AND  aRNA HYBRIDIZATION

Overview

A typical microarray experiment employs 30-50 μg of total RNA, corresponding to about 1 μg of polyA+ RNA. Therefore, RNA amplification techniques become essential for experiments involving limited amounts of starting materials, for example microarray analysis involving rare tissues such as the female gametophyte, the developing embryo, and other dissected tissues and cell types.  Most RNA amplification techniques are based on the method of Eberwine (van Gelder et al., 1990), employing double stranded cDNA synthesis using oligo dT primers incorporating one of the T3 or T7 viral promoters, followed by in vitro transcription as a means to linearly increase the concentration of messenger RNA.  The optimized Eberwine method is capable of amplification of mRNA up to ~103 fold for one round of amplification, and up to ~105 fold for two rounds of amplification (Wang et al., 2000; Baugh et al., 2001).  Employing two rounds of RNA amplification, one can successfully perform a  microarray experiment using  as little as 10 ng of starting RNA, i.e. corresponding to the content of a few isolated cells.  However, use of two rounds of RNA amplification reduces the number of detectable genes up to 20% , due to truncation of the 5’ complexity of the RNA population (Luzzi et al., 2003).

A variety of alternatives to Eberwine-based methods have been described (Iscove et al., 2002; Aoyagi et al., 2003; Ginsberg and Che, 2002;  Brabdt et al., 2002; Seth et al., 2003).   The major advantage of the Eberwine RNA amplification method over other methods is attributed to its linear mode of amplification, which helps preserve the relationships between the abundances of different transcripts. Xiang et al. (2003) indicate that this linear relationship can be maintained over five cycles of RNA amplification.

In terms of the two major types of microarray platforms available, having cDNA amplicon and oligonucleotide array elements respectively, certain constraints are placed on the methods of amplification that can be employed. Amplicon-based microarrays are particularly flexible in terms of the targets that can be hybridized, since either strand of the cDNA can be fluorescently labeled. In contrast, hybridization to oligonucleotide-based microarrays is restricted to the use of negative–strand targets.  Since the Eberwine-based  RNA amplification methods generate only negative strands, targets can be directly produced by labeling of the (amplified RNA) aRNA. Alternatively, a second  round of amplification can be used to generate RNA corresponding to the positive-strand of the  gene, which can then be reverse-transcribed to generate labeled target.  Either method has advantages and disadvantages:  directly labeling aRNA forces use of riboprobe hybridization methods, which can be challenging under certain conditions;  using two rounds of amplification is time consuming and may cause truncation. We consequently recommend use of direct  labeling of aRNA, rather than second round amplification, unless the extra level of amplification is required.  New methods have been recently described for linear aRNA amplification which are specific to the positive strand of the gene (BD Biosciences).

In our experience, total RNA isolated from leaf and seedling tissues using the Qiagen RNeasy kit performs very well for RNA amplification without a requirement for further purification.  However total RNA extraction from root and endosperm tissues using the RNeasy kit may present challenges due to the high polysaccharide content of these tissues.  For these tissues, we have found that Trizol extraction followed  by polyA+ RNA purification provides RNA suitable for amplification.

RNA Cleanup prior to aRNA Amplification

Materials Required:

RNeasy MinElute Column (Qiagen Cat #74204)

Agarose

10X TBE Buffer

RNAse free gel box

Agilent RNA 6000 Nano LabChip Kit

Refrigerated microcentrifuge

RNAase-free microfuge tubes and tips

100% Ethanol

DEPC-treated H2O

Methods:

Total RNA can be directly used for labeling without polyA+ RNA purification for some tissue types. However, it is necessary to remove any phenol that may have been carried over from the Trizol.  We recommend using Qiagen RNeasy MinElute Columns for RNA cleanup. A maximum of 45 µg RNA in a maximum starting volume of 200 μL can be used. This amount of RNA represents the binding capacity of the columns.

- Put on gloves!  RNA is very labile.

- Adjust sample (5-10 ug total RNA) to a volume of 100 μL with RNAase-free water, add 350 μL RLT buffer (provided in the kit), and mix thoroughly. (Note for this lab exercise, we have already provided the samples as 100 μL aliquots).

- Add 250 μL of 100% ethanol to the diluted RNA, and mix thoroughly by pipetting. Do not centrifuge; continue immediately to the next step.

- Add 700 μL of the sample to an RNeasy MinElute Spin Column in a 2 ml collection tube. Close the tube gently, and centrifuge for 15 s at 8000 x g. Discard the flow-through.

- Transfer the spin column into a new 2 mL collection tube. Pipet 500 μL RPE buffer (provided in the kit) onto the spin column. Close the tube gently, and centrifuge for 15 sec at 8000 x g to wash the column. Discard the flow-through.

- Note: Buffer RPE is supplied by the manufacturer as a concentrate. If you buy the kit yourself, ensure that you add ethanol prior to use of this buffer.  For this lab exercise, we have already added the ethanol.

- Add 500 μL of 80% ethanol to the RNeasy MinElute Spin Column. Close the tube gently, and centrifuge for 2 min at 8000 x g  to dry the silica-gel membrane. Discard the flow-through.

- Transfer the RNeasy MinElute Spin Column into a new microfuge collection tube. Open the cap of the spin column, and centrifuge in a microcentrifuge at full speed for 5 min. Discard the flow-through and collection tube.

- To elute, transfer the spin column to a new microfuge tube. Pipet 10 μL  of 55 C pre-heated DEPC H2O directly onto the center of the silica-gel membrane. Close the tube gently, incubate at RT for 2 min, and centrifuge for 1 min at maximum speed to elute. Repeat the elution one more time with additional 10 μL of DEPC H2O.

- Measure the RNA concentration and proceed to the next step. Note:  do not discard the spin column until you have verified the RNA recovery.  You may need to re-extract with more water (50 μL).  We expect about 80% RNA recovery.

Setting up the First Strand cDNA Synthesis

Materials required.

Aminoallyl Message Amp II  kit (Ambion Cat# 1753)

RNAase free tips, tubes

Refrigerated Microcentrifuge

DEPC treated H2O

Thermal cycler or incubators set at 42C

100% EtOH

Preparation of cDNA Wash Buffer

Add 11.2 ml 100% ethanol (ACS grade or better) to the bottle labeled cDNA Wash Buffer. Mix well and mark the label to indicate that the ethanol was added.

Preparation of aRNA Wash Buffer

Add 22.4 ml ACS grade 100% ethanol (ACS grade or better) to the bottle labeled aRNA Wash Buffer. Mix well and mark the label to indicate that the ethanol was added.

First Strand cDNA Synthesis

- Place up to 1-2 μg of total RNA  or 0.1 μg of poly(A)  RNA (typically 10–100 ng is sufficient) into an  RNAase-free microfuge tube.

- Add 1 μL of T7 Oligo(dT) Primer. **Note this is NOT the same as the Oligo(dT) primer used for total RNA target labeling**.

- Add Nuclease-free Water to a final volume of 12 μL.

- Incubate 5 min at 70°C in a thermal cycler.

- Remove the RNA samples from the 70°C incubator and centrifuge briefly (~5 sec) to collect sample at bottom of tube and immediately transfer to ice.

Assemble the Reverse Transcription Master Mix at room temperature, then place on ice.

(To reduce pipetting, prepare enough Reverse Transcription Master Mix to synthesize first strand cDNA for all RNA samples in the experiment.  It is prudent to include 5% overage to cover pipetting errors.  The following recipe is for a single  reaction)

Amount	 	Component

2 μL 		10X First Strand Buffer

1 μL 		Ribonuclease Inhibitor

4 μL 		dNTP Mix

1 μL 		Reverse Transcriptase

- Mix well by gently pipetting up and down or flicking the tube a few times. Centrifuge briefly (~5 sec) to collect the master mix at the bottom of tube and place on ice.

- Transfer 8 μL of Reverse Transcription Master Mix to each RNA sample from step 5, mix thoroughly by gently pipetting up and down or flicking the tube a few times, and place the tubes in a 42°C incubator.  We generally use a PCR machine with the lid temperature set at 48°C.

After the 2 h incubation at 42°C, centrifuge the tubes briefly (~5 sec) to collect the reaction at the bottom of the tube. Place the tubes on ice, and proceed to Second Strand cDNA synthesis.

Second Strand cDNA Synthesis, and Setting Up for aRNA Synthesis

Materials

Aminoallyl Message Amp II  kit (Ambion Cat# 1753)

RNAse free tips, tubes

Refrigerated Microfuge centrifuge

DEPC-treated H2O

Thermal cycler or incubators set at 16o C and 37C

Method

1.   On ice, add the second strand cDNA synthesis reagents in the order listed to each sample from steps 5 above. When processing more than one sample, it is a good idea to make a master mix of second strand cDNA synthesis reagents to avoid variability; include ~5% overage to cover pipetting error. The following recipe is for a single reaction:

Amount	 	Component

20 μL 		cDNA sample (from step f above)

63 μL		Nuclease-free Water

10 μL		10X Second Strand Buffer

4 μL		dNTP Mix

2 μL 		DNA Polymerase

1 μL		RNase H

2.	Gently mix by pipetting up and down or by flicking the tube a few times, then centrifuge the tubes briefly (~5 sec) to collect the reaction at the bottom of tube.

- Incubate in a thermal cycler or in a refrigerated water bath (do not use a heat block in a 4°C refrigerator because the temperature will fluctuate too much).

After the 2 h incubation at 16°C, proceed to cDNA Purification (below), or immediately freeze reactions at –20°C. Do not leave the reactions on ice for long periods of time.

cDNA Purification

Use the cDNA purification kit supplied with the messageamp-II kit or you can also use other PCR purification kits like Qiaquick.

Before beginning the cDNA purification, preheat the 10 mL bottle of Nuclease-free Water to 50°C for at least 10 min.

- Check that the cDNA filter cartridge is firmly seated in a 2 mL wash tube and pipet 50 μL cDNA binding buffer onto the filter in the cDNA filter cartridge.

- Incubate at room temperature for 5 min.  (DO NOT spin the cDNA binding buffer through the cDNA filter cartridge).

- Add 250 μL of cDNA binding buffer to each cDNA sample from the second strand cDNA synthesis and mix thoroughly by repeated pipetting.

- Pipet the cDNA sample/cDNA Binding Buffer  onto the center of an equilibrated cDNA Filter Cartridge.

- Centrifuge for ~1 min at 10,000 x g, or until the mixture has passed through the filter.

- Discard the flow-through and replace the cDNA filter cartridge in the 2 mL wash tube. Make sure that the ethanol has been added to the bottle of cDNA Wash Buffer before using it.

- Apply 500 μL cDNA wash buffer to each cDNA filter cartridge. Centrifuge for ~1 min at 10,000 x g, or until all the cDNA wash buffer is through the filter.

- Discard the flow-through and spin the cDNA filter cartridge for an additional minute to remove trace amounts of ethanol.

- Transfer cDNA Filter Cartridge to a cDNA Elution Tube.  To the center of the filter in the cDNA Filter Cartridge, apply 10 μL of nuclease free water that is preheated to 50°C.  Leave at room temperature for 2 min and then centrifuge for ~1.5 min at 10,000 x g, or until all the nuclease-free water is through the filter.

- Repeat the previous step with additional 10 μL of 55 C pre-heated  nuclease-free water. The double-stranded cDNA will now be in the eluate (~18 μL).

- Discard the cDNA Filter Cartridge.

Check the cDNA concentration in the solution using the Nanodrop spectrophotometer. In general the cDNA yield should be around 10-15 ng / μL if you start with 5 μg of total RNA.  However, this may vary depending on the tissue type used for the RNA extraction.  If you started the cDNA synthesis with more RNA, you may use 2 μL of cDNA to analyze the product size on  a TBE agarose gel or Bioanalyzer.

In Vitro Transcription for aRNA synthesis

The oligo microarrays, being printed with positive-strand DNA elements, require labeled negative-strand targets for hybridization.  Since the first round of amplified aRNAs represents the negative–strand, it is recommended to label the aRNA itself. aRNA  labeling can be done using two methods:  (a). direct incorporation of Cy-dye modified UTP during the process of in vitro transcription, or (b). indirect labeling, by incorporating aminoallyl modified UTPs during in vitro transcription, followed by monoreactive cy-dye coupling.   Since the cy-dye modified nucleotides used for direct labeling are extremely expensive, we recommend the second approach.

Aminoallyl UTP (aaUTP) does not contain a bulky side chain modification, which means that one can replace 100% of the UTP with aaUTP during RNA synthesis without loss of incorporation.  We recommend using a 1:3 ratio of UTP to aaUTP.

1.  Make the reaction mix by adding the reagents in the following order:

16 μL 		double-stranded cDNA

3 μL		aaUTP Solution (50 mM)

12 μL 		ATP, CTP, GTP Mix (25 mM)

1 μL 		UTP Solution (50 mM)

4 μL 		T7 10X Reaction Buffer

4 μL	    	T7 Enzyme Mix

2.  Mix well  with pipette, centrifuge at 3000 x g for 30 sec, then incubate the tube at 37oC in a PCR machine (the lid temperature should be set at 40oC).

(If you are working with more than one sample it is recommended to make a master mix without cDNA).

The minimum recommended incubation time is 4 h, and  the maximum is 14 h.  Stop the reaction by adding 60 μL nuclease-free water to each aRNA sample to bring the final volume to 100 μL. Mix thoroughly by gentle vortexing, and proceed to the aRNA purification step (below).

aRNA Purification, Quantification, and Dye Coupling

Materials

Aminoallyl Message Amp II  kit (Ambion Cat# 1753)

RNAse free tips, tubes

Refrigerated Microfuge centrifuge

100% EtOH

Cy3 Monoreactive dye (Amersham Pharmacia; Cat# PA23001)

Cy5 Monoreactive dye (Amersham Pharmacia; Cat# PA25001)

DMSO (Sigma; Cat#D8418)

Hydroxylamine (Sigma Cat#159417)

Sodium Carbonate

Sodium Bicarbonate

DEPC-treated H2O

aRNA Purification

Before proceeding to the dye coupling  it is important to remove all the unincorporated nucleotides from the aRNA.   Check to make sure that each IVT(in vitro transcription?) reaction was brought to 100 μL with nuclease-free water.

- Add 350 μL of aRNA binding buffer to each aRNA sample, then proceed to the next step immediately.

- Add 250 μL of ACS grade 100% ethanol to each aRNA sample, and mix by pipetting the mixture up and down three times. Do NOT vortex to mix and do NOT centrifuge.

- Proceed immediately to the next step as soon as you have mixed the ethanol into each sample. Any delay in proceeding could result in loss of aRNA because once the ethanol is added, the aRNA will be in a semi-precipitated state.

- Pipet each sample mixture from step 2 onto the center of the filter in the aRNA filter cartridge. centrifuge for ~1 min at 10,000 X g, or  continue until the mixture has passed through the filter.

- Discard the flow-through and replace the aRNA filter cartridge back into the aRNA collection tube.

- Apply 650 μL wash buffer to each aRNA filter cartridge, centrifuge for ~1 min at 10,000 X g, or until all the wash buffer is through the filter.

- Discard the flow-through and spin the aRNA filter cartridge for an additional ~3 min to remove trace amounts of wash buffer.

- Transfer filter cartridge(s) to a fresh aRNA collection tube. To the center of the filter, add 100 μL nuclease-free water (pre-heated to 50o C).

- Leave at room temp for 2 min and then centrifuge for ~1.5 min at 10,000 X g, or until the nuclease-free water is through the filter.

- The aRNA will now be in the aRNA collection tube in ~100 μL of nuclease-free water.

Determine the concentration of RNA using the Nanodrop  or a conventional spectrophotometer.  Aliquot 1-4 μg of aRNA and  completely dry it using a Speedvac centrifuge set at 45oC.  Store the aRNA at -80 for further use.

Coupling AA-cDNA to the Cy Dye Ester

Preparation of the Cy3 and Cy5 monoreactive dyes. These dyes are supplied as five aliquots.  The dye in each tube is sufficient for four labeling reaction.  Dissolve entire contents of a single tube in 22 μL DMSO by flicking the tube several times, and leaving at RT for at least 30 min protected from light. Spin at 1000 X g for 30 sec to collect the dye at the bottom of the tube. The dye is now ready for use, but can be stored at -20oC for up to one month.  Always protect the dye from light by wrapping tubes with aluminum foil.

- Dissolve the dried aRNA with  5 μL of 0.2 M NaHCO3 buffer (see previous chapter) by flicking the tube several times and leaving the tube at RT for at least 20 min.

- Add 5 μL of Cy3 or Cy5 (in DMSO) to each tube, and mix them thoroughly by flicking the tube several times.

- Spin the tube at 1000 X g for 30 sec.

- Incubate the dye and aRNA mix in the tube at RT for 2 h while covered in aluminum foil.

aRNA Purification (Post Dye Coupling)

Materials required

RNeasy MinElute column (Qiagen Cat# 74204)

RNAse free tips and tubes

Refrigerated centrifuge

Hydroxylamine (Sigma Cat#159417)

Quenching Reaction. This optional step involves quenching any unreacted Cy dye by adding an excess of primary amines.

- Add 4.5 μL 4M hydroxylamine.

- Incubate for 15 min in the dark at RT.

Removal of Unincorporated Dye.

The Qiagen RNeasy MinElute column is used for this purpose.

- Adjust sample to a volume of  100 μL with RNAase-free water. Add 350 μL of RLT (kit) buffer, and mix thoroughly.

- Add 250 μL of 96–100% ethanol to the diluted RNA, and mix thoroughly by pipetting. Do not centrifuge, continue immediately with step 3.

- Apply 700 μL of the sample to an RNeasy MinElute Spin Column in a 2 mL collection tube (supplied).  Close the tube gently, centrifuge for 15 s at 8000 x g, and discard the flow-through.

- Transfer the spin column into a new 2 ml collection tube. Pipet 500 μL RPE(kit) buffer onto the spin column. Close the tube gently, and centrifuge for 15 s at 8000 x g  to wash the column. Discard the flow-through (reuse the collection tube in step 5).

Note: RPE buffer is supplied as a concentrate; ensure that ethanol is added before use.

- Add 500 μL of 80% ethanol to the RNeasy MinElute Spin Column.  Close the tube gently, and centrifuge for 2 min at 8000 x g  to dry the silica-gel membrane. Discard the flow-through and collection tube.

- Transfer the RNeasy MinElute Spin Column into a new 2 mL collection tube (supplied). Open the cap of the spin column, and centrifuge in a microcentrifuge at 12000 x g  for 5 min. Discard the flow-through and collection tube.

- To elute, transfer the spin column to a new microfuge tube. Pipet 20 μL DEPC water and leave at RT for 2 min. Close the tube gently, and centrifuge  at 12000 x g  for 1 min.

- Repeat step 7  with an additional 20 μL of DEPC water.

Measure the amount of  dye incorporated into aRNA  using a NanoDrop or conventional spectrophotometer.

## Measurement of Dye Incorporation

General

The Beer-Lambert equation is used to correlate the calculated absorbance with concentration:

A = E * b * c

Where A is the absorbance represented in absorbance units (A), E is the wavelength-dependent molar absorptivity coefficient (or extinction coefficient) with units of liter/mol-cm, b is the path length in cm, and c is the analyte concentration in moles/liter or molarity (M).

Dye Incorporation

Follow the table below to  estimate the amount of dye incorporation. The Nanodrop instrument contains built in software (the Microarray Concentration module) that uses the general form of the Beer-Lambert equation to automatically  calculate the fluorescent dye concentrations.

| Dye Type | Extinction Coefficient (liter/mol-cm) | Measurement Wavelength (nm) |
| --- | --- | --- |
| Cy3 | 150000 | 550 |
| Cy5 | 250000 | 650 |
| Alexa Fluor 488 | 71000 | 495 |
| Alexa Fluor 546 | 104000 | 556 |
| Alexa Fluor 555 | 150000 | 555 |
| Alexa Fluor 594 | 73000 | 590 |
| Alexa Fluor 647 | 239000 | 650 |
| Alexa Fluor 660 | 132000 | 663 |
| Cy3.5 | 150000 | 581 |
| Cy5.5 | 250000 | 675 |

Table of extinction coefficients for  dyes used in microarray experiments.

Microarray Hybridization

Materials

Wash glasses

Microscope slide holders

10 mL disposable pipette

50 mL tubes

Sterile measuring cylinder

Extra-deep Hybridization Cassette (Telechem International Cat# AHCXD)

LifterSlip (Erie Scientific Company Cat#24X601-2-4733)

Incubator set to 55(C

Liquid Blocking Reagent (Amersham; Cat # RPN3601)

2% SDS

20XSSC

DEPC treated H2O

Method

DNA probe immobilization:

This can be done at any time prior to hybridization.

- Re-hydrate slide over a 50(C water bath for 10 sec.

  - Hold slide with the label side down over the water vapor.

  - Watch spots carefully so that they do not over-hydrate and begin to merge together.

- Snap dry the slide on a 65(C heating block for 5 sec.

  - Place slide label side up on heating block.

  - Allow slide to cool for 1 min.

- Repeat steps 1-3 for  a total of four times.

- UV cross-link the slides by exposing them in batches, label side up, to 180mJ in a commercial cross-linker (we employ a Stratalinker).

- Wash the slide in 1% SDS (prepared in sterile DDH2O) for 5 min at RT on a shaker or agitate by hand.

- Remove SDS by dipping the slides ten times into sterile DDH2O.

- Immediately transfer the slides to 100% ethanol, dip five times, then incubate  for three min with shaking.

- Spin dry slide in centrifuge at no more than 200 x g for 2-4 min.

  - Pack bottom of 50 mL centrifuge tube with Kimwipes.

  - Using forceps carefully place slide into tube with label at the bottom.

  - Repeat spin if any liquid is remaining on the slide surface.

- Repeat ethanol wash if any visible streaks remain after spin dry.

- Store slide in a lint-free light-proof box at RT with low humidity.

Hybridization setup:

Hybridization mix

- Mix the following in a microfuge tube:

20X SSC			6.0L

Liquid Block			3.6L

2% SDS			2.4L

Both Labeled Targets			--- L

H2O		   to      60 L

- Denature labeled target by incubating tube at 65o C for 5  min.

- Transfer tube to ice immediately or apply on to the slides directly.

- Rinse ArrayIt™ Hybridization Cassette with distilled water and dry thoroughly.

- Make sure flexible rubber gasket is seated evenly in gasket channel.

- Add 15. µl water to the lower groove inside the cassette chamber.

- Insert the microarray (1" x 3" or 25mm x 75mm slide) into cassette chamber, DNA side up.

- Place the lifter slip over the microarray slide (make sure the white stripe of the lifterslip is at the lower side)

- Apply the PRE-HEATED sample slowly to the one end of the lifterslip and let it disperse.

- Quickly place the clear plastic cassette lid on top of the cassette chamber.

- Apply downward pressure and manually tighten (clockwise) the four sealing screws.

- Check all four screws again to confirm a tight seal.

- Place the cassette into a hybridization oven set at 55C.

- Allow the hybridization reaction to proceed for 8-12 h.

- After hybridization, remove cassette, manually loosen the four sealing screws (counterclockwise) and remove lid.

- Remove the microarray slide from the cassette chamber using  forceps and place the slides into the washing buffer.

Microarray Washing

- Wash slide in the following solutions for 5 min each:

2x SSC, 0.5% SDS @ 55(C

0.5x SSC @ RT

0.05x SSC @ RT

- Washing is done by immersing the slides in a glass slide-staining jar containing the appropriate volume of wash buffer, followed by placing it on a belly shaker at 60 rpm.  Pre-heat the first wash solution, and make sure the slides are completely immersed in wash buffer.

- After completion of the washes, spin dry the slide in centrifuge at no more than 1000 rpm for 2-4 min.

  - Pack bottom of 50 mL plastic disposable centrifuge tube with Kimwipes.

  - Using forceps, carefully place slide into tube with label at the bottom.

  - Repeat spin if any liquid remains on the slide.

- Scan slide immediately, or store in a light proof box @ room temp under dry conditions.

  - Immediate scanning is recommended. However, we have observed that properly stored slides (light protected-dry- RT) can retain the signal up to a month. Note: some reports indicate environmental pollutants (ozone) can drastically affect fluorescence.

  - Examine the scanned images immediately to determine the number of elements that are near zero or are saturated (for a 16-bit scanner, that represents a value of 65,400).  The proportion of these elements should be acceptably low, since information is lost in either case.

  - It is much more preferable to rescan with altered gain settings on the scanner than to proceed with analysis of images containing large proportions of zero or saturated elements.  As we can tell, even though the absolute value of the spots may be reduced by scanning a second or third time, the relative fluorescence is preserved, so the information is not lost (see figures for an illustration of this problem – C. Vanier will explain).

  - Save the image as .TIFF file.

Microarray Feature Extraction

Feature extraction is a critical step which can greatly influence the outcome of your microarray experiment.  Care must be taken while converting digital image in to numerical value. Feature extraction is carried out by a  spot finding program, which  converts the digital image  to numerical values based on the signal intensity of each spot.  There are a number of commercial spot finding programs available on the market. Users can subscribe with minimum cost.  Almost all modern microarray scanners are provided  with automated spot finding programs based on gal file input.

Feature extraction using Axon-Gene Pix 6.0

- Load the .TIFF image file into the Gene Pix program.

- Load the .gal file using  “open gene list”.

- Use auto adjust function F8 to find array, find features, and adjust the features .

- Spend time going through the entire slide twice: once to look for mismatches in the grid, and the second time to manually flag obvious problems.  Look for: smears, streaks, or dust where the spot is obviously the same intensity or lighter than the smear it is sitting in, individual spots that are misplaced with respect to the grid (even if nothing is there, chances are the position is being dictated by a small noisy area, visible or not), spots that have bled into adjacent spots, and anything else that looks suspicious.  We would like to keep as much data as possible, but dealing with an unbalanced statistical design is preferable to allowing outliers into the data set.

- Extract the data.

- Save the data as GPR files.