# AT OLIGO 01.07.01.001-01.07.01.100

Comments

There is a small gap in the Large Array beginning in Row 22 and ending in Row 23 of all subarrays due to a power surge associated with a (false) building fire alarm. This resulted in some merging of Rows 21 and 22 on some slides. Spots in these rows correspond to DNA from Sample Plates 45-49.

To replace the element information inaccessible at these locations, Plates 45-49 were printed a second time at the end of the Small Array.  Information identifying these spots can be found at the end of the Small Array database.  Information for plates 45-49 in the Large Array database was recorded as blanks to avoid any confusion.

Large Array:

Total Array -	8 Metarows X 4 Metacolumns

Subarrays -	27 Rows X 27 Columns

Small Array:

Total Array -	2 Metarows X 4 Metacolumns

Subarrays - 	27 Rows X 27 Columns