Plant sample preparation:

Weigh 2 samples of exactly 1.00 g of plant material in porcelain crucibles. Dry ash for 4 - 6 hours in muffle

furnace at 500o C. Dissolve each sample in 4 mL of 2N HCl. Transfer to 50 mL volumetric flasks and

bring to volume with distilled water.  Label and store the samples at 4oC.